## GSH and GSSG -Others
16-3 | [7 empty] | 2020-10-08
GSH and GSSG for Tissue, Blood Samples
|  | Name | Type | Code | QTY | Unit Price (JPY) | Price (JPY) | Remark
Device
| D-2 | Electrochemical Detector | Please contact us for more information. |  |  |  |  | Includes Diamond Electrode
| D-3 | HPLC pump system | EP-700 | 570000 | 1 |  | 0
| D-4 | Column oven | ATC-700 | 190000 | 1 |  | 0
| D-10 | Autosampler | M-510 | 740100 | 1 |  | 0
| D-13 | Data Processor | EPC-710 | 793000 | 1 |  | 0
| D-14 | Computer |  |  | 1 | depends on specs |  | Windows
Column
|  | EICOMPAK Separation Column | SC-5ODS | 680060 | 1 |  | 0 | 3.0φ x 150mm
|  | Prepacked PreColumn 4.0mm | PC-04AC | 681400 | 1 |  | 0 | 4φ x 5mm, for sample
|  | Prepacked PreColumn 4.0mm | PC-04AC | 681400 | 1 |  | 0 | 4φ x 5mm, for mobile phase
Electrode
|  | Gasket 50 μm | GS-50 | 100090 | 1 |  | 0 | 3pcs/pkg
Mentenance Kit
|  | Check Valve Assy (Inlet) | HT-IV | 550570 | 2 |  | 0
|  | Check Valve Assy (Outlet) | HT-OV | 550571 | 2 |  | 0
|  | Precolumn Suction Adapter | PA-05 | 680700 | 1 |  | 0
|  | Spanner 8-10mm | SM0810 | 900056 | 2 |  | 0
GSH Reduced Glutathione
GSSG Oxidized Glutathione